Scenario A:

Fetching data from NASA POWER API

Data successfully fetched and cleaned!

## Normalizing Irradiance and Fitting Beta Distributions ##

--- RUNNING SCENARIO A: Budget Setup ---

PV Area: 10 m² | Battery: 2.4 kWh | Load: 6 kWh/day

Initializing Monte-Carlo Simulation (2500 iterations)

Evaluating Realistic Load and Battery State of Charge (SoC)...

## Calculating Reliability Metrics & Energy Totals ##

--------------------------------------------------

RESULTS FOR: Budget Setup

--------------------------------------------------

Mean LPSP:                    31.814%

Mean Prob of Deficit:         48.610%

Total Annual Consumption:     8,760 kWh

Supplied by Microgrid:        5,973 kWh

Bought from Main Grid:        2,787 kWh

Surplus (Exported/Wasted):    2,710 kWh

--------------------------------------------------

Generating and exporting high-resolution PNGs...

-> Successfully saved 4 PNG files for Scenario A in the current directory!

Launching Interactive Dashboard...

Scenario B:

Fetching data from NASA POWER API

Data successfully fetched and cleaned!

## Normalizing Irradiance and Fitting Beta Distributions ##

--- RUNNING SCENARIO B: Standard Modern Home ---

PV Area: 20 m² | Battery: 5.0 kWh | Load: 8 kWh/day

Initializing Monte-Carlo Simulation (2500 iterations)

Evaluating Realistic Load and Battery State of Charge (SoC)...

## Calculating Reliability Metrics & Energy Totals ##

--------------------------------------------------

RESULTS FOR: Standard Modern Home

--------------------------------------------------

Mean LPSP:                    5.128%

Mean Prob of Deficit:         7.382%

Total Annual Consumption:     11,680 kWh

Supplied by Microgrid:        11,081 kWh

Bought from Main Grid:        599 kWh

Surplus (Exported/Wasted):    6,285 kWh

--------------------------------------------------

Generating and exporting high-resolution PNGs...

-> Successfully saved 4 PNG files for Scenario B in the current directory!

Launching Interactive Dashboard...

Scenario C:

Fetching data from NASA POWER API

Data successfully fetched and cleaned!

## Normalizing Irradiance and Fitting Beta Distributions ##

--- RUNNING SCENARIO C: Future-Proof Premium ---

PV Area: 40 m² | Battery: 10.0 kWh | Load: 12 kWh/day

Initializing Monte-Carlo Simulation (2500 iterations)

Evaluating Realistic Load and Battery State of Charge (SoC)...

## Calculating Reliability Metrics & Energy Totals ##

--------------------------------------------------

RESULTS FOR: Future-Proof Premium

--------------------------------------------------

Mean LPSP:                    0.000%

Mean Prob of Deficit:         0.000%

Total Annual Consumption:     17,520 kWh

Supplied by Microgrid:        17,520 kWh

Bought from Main Grid:        0 kWh

Surplus (Exported/Wasted):    17,210 kWh

--------------------------------------------------

Generating and exporting high-resolution PNGs...

-> Successfully saved 4 PNG files for Scenario C in the current directory!

Launching Interactive Dashboard...

Scenario D:

Fetching data from NASA POWER API

Data successfully fetched and cleaned!

## Normalizing Irradiance and Fitting Beta Distributions ##

--- RUNNING SCENARIO D: Commercial IT Office ---

PV Area: 300 m² | Battery: 100.0 kWh | Load: 250 kWh/day

Initializing Monte-Carlo Simulation (2500 iterations)

Evaluating Realistic Load and Battery State of Charge (SoC)...

## Calculating Reliability Metrics & Energy Totals ##

--------------------------------------------------

RESULTS FOR: Commercial IT Office

--------------------------------------------------

Mean LPSP:                    28.713%

Mean Prob of Deficit:         71.089%

Total Annual Consumption:     365,454 kWh

Supplied by Microgrid:        260,520 kWh

Bought from Main Grid:        104,933 kWh

Surplus (Exported/Wasted):    0 kWh

--------------------------------------------------

Generating and exporting high-resolution PNGs...

-> Successfully saved 4 PNG files for Scenario D in the current directory!

Launching Interactive Dashboard...